## Sheet 1
DETAILS OF LSEB SUBSTATION ::: ASSET REGISTER
item | Manufacturer | Model Number | Year | Fuel Type | Country | Rating | ISO | Owner
Transformer | ELPROM TRAFO CH - PLC | 139794 | 2009 |  | Bulgaria | 200 KVA |  | LSEB
Ist Generator (Plants) | PERKINS | A07A711361 |  | Diesel | England | 120 KVA | 8528-3 | LSEB
2nd Generator (Plants) | OLYMPIAN | GEEP110-4 | 2012 | Diesel | Switzerland |  | 8528-3 | LSEB
3rd Generator (Plants) | CUMMINS | C150 D5 | 2010 | Diesel | England | 100 Kw | 8528-1 | LSEB
Old Meter | MBH Power | 3NP06015 |  |  | Nigeria | 100/5 |  | LSEB
New Installed Meter | ENERMAX | 14230043 |  |  | South Africa |  |  | POWERTECH NIG
Poles | [5 empty] | 250 watts |  | LSEB
Breaker Panel | Telemecanique |  |  |  |  | 100/5 |  | LSEB
Circuits Control Panel | [7 empty] | LSEB
Diesel Tank | [7 empty] | LSEB